The New Firmware Upgrading

For first time to upgrade the software, please install usb driver

- Power off the Meter

- Connect the Meter and PC by USB cable

- Press Power key to power on the meter.

- The Meter will enter into USB mode with YELLOW LED flickered.

5. RunITTSAT_DFU_V_2_2.exe

6. Choose the new firmware

7. Click on Upgrade.

8. The meter will jump into app once downloading finished

9. Remove the USB cable.